# Economic Analysis of 15.30 kWp Off-Grid Solar PV System

Location: Bilhari, Madhya Pradesh, India
Building: Three-Storey Residential Building
Daily Load: 52.5 kWh/day

## Key Results

| Parameter | Value |
| --- | --- |
| PV Capacity | 15.30 kWp |
| Battery Bank | 48 V, 1664 Ah |
| Battery Type | HERE DEKA 12 V 208 Ah Sealed Gel |
| Initial Investment | ₹30.09 lakh |
| Annual Energy | 23,640 kWh |
| Annual Gross Savings | ₹2.01 lakh |
| Annual O&M | ₹45,135 |
| Annual Net Savings | ₹1.56 lakh |
| Simple Payback | 19.3 years |
| Hypothetical Subsidy | ₹78,000 |
| Payback with Subsidy | 18.8 years |
| Battery Replacement | Years 10 & 20 |
| LCOE | ₹11.55/kWh |
| ROI | 66.97% |

## Notes

- PM Surya Ghar subsidy does not apply to this off-grid system.
- Battery replacement dominates lifecycle cost.
- System emphasizes reliability and energy independence.